## Slide 1: AP219: Dimensional inspection
Harmonization example
Bill Danner
danner@ec.rr.com

## Slide 2: Part life cycle: Example activity model
Design
part
Manufacture
part
Operate &
maintain part
Dispose of
part
Inspect
part
Inspect
part
Inspect
part
Inspect
part
Current
Harmonization
Focus

## Slide 3: Harmonization: Mapping and integration
Harmonization through mapping between requirements specifications
Harmonization through integration of requirements specifications
AP219
View
AP224
View
integration
mapping
AP219
View
DMIS
View

## Slide 4: AP219 Harmonization activities
Dimensional inspection
  DMIS (Dimensional Measuring Inspection Standard)
  ISO 22093 (draft DMIS equivalent)
  Metrology Interoperability Project
  (Reporting Work Group of the Automobile Industry Action Group)
mapping
integration
STEP
  AP224 (Process Planning using Machining Features)
  AP238 (Computer Numerical Controllers)
  AIC 519 (Geometric Tolerances)
  GDT module (Geometric Dimensions and Tolerances)

## Slide 5: Manufacturing and dimensional measurement views
DM view
Manufacturing view
Manufacturing
feature
Parameter
nominal
Parameter
tolerance
Manufacturing info
Part
Dimensional
measurement
feature
Dimensional
measurements
Measurement data
Dimensional
measurement
parameter
Parameter
calculated
value
Calculated
value
Measurement results

## Slide 6: Manufacturing view: Inspect part
Manufacturing feature parameter
nominal and tolerance
Manufacturing
feature
Parameter
nominal
Parameter
tolerance
Part
Inspect
part
Manufacturing feature parameter
calculated value associated with
nominal and tolerance
Parameter
calculated
value
Calculated
value
Manufacturing
feature
Parameter
nominal
Parameter
tolerance
Part

## Slide 7: Dimensional measurement view
Part
info
DM
execution
results
Analyze
DM
Plan
DM
DM
analysis
results
Manufacturing
feature and
tolerance info
Part
info
Execute
DM
DM program
id info
DM feature,
manufacturing
feature & tol info
Part
info
DM program
id info
DM feature,
manufacturing
feature & tol info
Part info
Manufacturing
feature & tol info

## Slide 8: Dimensional measurement: Units of functionality
UoF-4
UoF-3
UoF-2
UoF-1
Part
info
DM
execution
results
Analyze
DM
Plan
DM
DM
analysis
results
Manufacturing
feature and
tolerance info
Part
info
Execute
DM
DM program
id info
DM feature,
manufacturing
feature & tol info
Part
info
DM program
id info
DM feature,
manufacturing
feature & tol info
Part info
Manufacturing
feature & tol info

## Slide 9: Dimensional measurement: Units of functionality
UoF-5
DM
execution
results
DM program
id info
Analyze1
DM
DM
analysis
results
Part info
DM feature,
manufacturing
feature & tol info
Analyze2
DM
DM
analysis
results
Part info
Manufacturing
feature & tol info

## Slide 10: Information requirements: Module ARMs
I. Part requirements
  Part_arm
    Shape_arm
      Geometric_model_arm
      Orientation_arm
      Property_parameter_arm
      Value_with_unit_arm
      Shape_element_arm
II. Tolerance requirements
  Dimension_tolerance_arm
    Derived_shape_element_arm
  Geometric_tolerance_arm
    Cartesian_point_and_vector_arm
III. Manufacturing feature requirements
  Manufacturing_feature_arm
    Machining_feature_arm
      Path_arm
      Profile_arm
      Specification_arm
    Transition_feature_arm
    Replicate_feature_arm

## Slide 11: Information requirements: Module ARMs
IV. Dimensional measurement program requirements
  Dimensional_measurement_program_id_arm
V. Dimensional measurement feature requirements
  Dimensional_measurement_feature_arm
VI. Dimensional measurement execution result requirements
  Dimensional_measurement_execution_result_arm
    Dimensional_measurement_program_run_arm
      Person_organisation_arm
      Date_time_arm
VII. Parameter calculated value requirements
  Parameter_calculated_value_arm

## Slide 12: Dimensional measurement: Units of functionality
UoF-4:
UoF-3:
UoF-2:
UoF-1:
Analyze
DM
Plan
DM
Execute
DM
Modules
I, II, III
Modules
I, II, III, IV, V
Modules
I, II, III, IV, V, VI, VII
Modules
I, II, III, VII
I
II
III
IV
V
VI
VII
Part
Tolerance
Manufacturing Feature
DM Program
DM Feature
DM Execution Result
Parameter Calc Value

## Slide 13: Dimensional measurement: Units of functionality
UoF-5:
Analyze1
DM
Analyze2
DM
Modules
I, II, III, IV, V, VI, VII
I
II
III
IV
V
VI
VII
Part
Tolerance
Manufacturing Feature
DM Program
DM Feature
DM Execution Result
Parameter Calc Value

## Slide 14: Example part: Top view

## Slide 15: Example part: Cross section

## Slide 16: Instances: Counterbore_hole specification
Manufacturing
view
15mm + .25
25mm + .5
Hole 2
Hole 1
-
-

## Slide 17: ARM elements: Counterbore_hole diameter
Counterbore_
hole
Round_hole
Shape_
element
(ABS)
Manufacturing_
feature
(ABS)
Machining_
feature
(ABS)
Hole
(ABS)
Feature
smaller_hole
larger_hole
Circular_
closed_profile
diameter
Numeric_
parameter
STRING
diameter
parameter_unit
parameter
_value
Numeric_parameter_
with_tolerance
Numeric_tolerance_select
Tolerance_limit
Plus_minus_value
Tolerance_limit_context
INTEGER
implicit_tolerance
upper
_limit
lower
_limit
significant_digits
limit_
qualifier
(ABS)
Profile
placement
REAL
Orientation
axis
S[9:9]
location
S[3:3]
placement

## Slide 18: Instances: Diameter nominal and tolerances
2
15.25
14.75
Plus_minus_value
1
implicit_tolerance
significant
_digits
upper
_limit
lower
_limit
Plus_minus_value
1
24.5
25.5
2
implicit_tolerance
significant
_digits
upper
_limit
lower
_limit
Circular_
closed_profile
1
2
Circular_
closed_profile
diameter
diameter
2
25
mm
parameter
_value
parameter
_unit
mm
15
parameter
_value
parameter
_unit
Numeric_parameter_
with_tolerance
1
diameter
Numeric_parameter_
with_tolerance
2
diameter
placement
axis S[9:9]
location S[3:3]
Orientation
3
0,-60,0
?,?,?,?,?,?,?,?,?
axis S[9:9]
location S[3:3]
Orientation
2
placement
?,?,?,?,?,?,?,?,?
0,-60,0
Round_hole
1
Round_hole
2
smaller_hole
larger_hole
Counterbore_
hole
1
placement
axis S[9:9]
location S[3:3]
Orientation
1
?,?,?,?,?,?,?,?,?
?,?,?

## Slide 19: Instances: Counterbore_hole measurement
Manufacturing
view
Dimensional
measurement
view
15mm + .25
25mm + .5
Hole 2
Hole 1
-
-
Circle 2
Circle 1
Circle 4
Circle 3

## Slide 20: ARM elements: Dmf_circle diameter measurement
(ABS)
Dmf_
circle
Shape_
element
(ABS)
Dm_
feature
(ABS)
Feature
measured_point
S[1:?]
Calculated
_value
parameter_value
calculated_value
REAL
STRING
value_
component
unit_
component
value
Dm_execution_
result_
measurement
parameter
measurement_points S[1:?]
Dm_
point
Cartesian_
point
expected_point
diameter
Dm_dimension
parameter
Numerical
_value
Numeric_
parameter
Numeric_
Parameter
specification
Parameter
calculated
value
x
y
z
Numeric_
parameter_
with_tolerance

## Slide 21: Instances: Diameter calculated value of hole 1
calculated_value
Calculated
value
1
Numerical_value
1
15.12
mm
calculated_
value
Method A
calculation
_method
value_
component
unit_
component
Parameter
calculated
value
1
parameter_value
parameter_value
Plus_minus_value
2
14.75
15.25
1
implicit_tolerance
significant
_digits
upper
_limit
lower
_limit
15
mm
parameter
_value
parameter
_unit
Numeric_parameter_
with_tolerance
1
parameter
Dmf_circle
1
Dmf_circle
2
diameter
diameter
Dm_dimension
_parameter
2
Dm_dimension
_parameter
1
measured
_points
S[1:?]
Cartesian _point
5
Cartesian _point
2
Dm_
point
2
Dm_execution_
result_
measurement
1
parameter
Dm_
point
1
Cartesian _point
1
Cartesian _point
4
Cartesian _point
3
measurement_points
S[1:?]
measured
_points
S[1:?]
mps S[1:?]
Cartesian
_point
9
Cartesian
_point
7
Dm_
point
4
Dm_execution_
result_
measurement
2
parameter
Dm_
point
3
Cartesian
_point
6
Cartesian
_point
8
measurement_points
S[1:?]
mps S[1:?]

## Slide 22: Instances: Diameter calculated value of hole 2
parameter_value
parameter_value
Dmf_circle
3
Dmf_circle
4
diameter
diameter
Dmf_parameter
4
Dmf_parameter
3
Plus_minus_value
1
24.5
25.5
2
implicit_tolerance
significant
_digits
upper
_limit
lower
_limit
25
mm
parameter
_value
parameter
_unit
Numeric_parameter_
with_tolerance
2
parameter
calculated_value
calculation
_method
Calculated
value
Numerical_value
2
24.8
mm
calculated_
value
Method A
value_
component
unit_
component
Parameter
calculated
value
2
2
Cartesian _point
14
Cartesian _point
11
Dm_
point
6
Dm_execution_
result_
measurement
3
parameter
Dm_
point
5
Cartesian _point
10
Cartesian _point
13
Cartesian _point
12
measurement_points
S[1:?]
measured
_points
S[1:?]
mps S[1:?]
Cartesian
_point
18
Cartesian
_point
16
Dm_
point
8
Dm_execution_
result_
measurement
4
parameter
Dm_
point
7
Cartesian
_point
15
Cartesian
_point
17
measurement_points
S[1:?]
mps S[1:?]
measured
_points
S[1:?]

## Slide 23: Dimensional measurement: Reporting results
UoF-4
Part
info
DM
execution
results
Analyze
DM
Plan
DM
DM
analysis
results
Manufacturing
feature and
tolerance info
Part
info
Execute
DM
DM program
id info
DM feature,
manufacturing
feature & tol info
Part
info
DM program
id info
DM feature,
manufacturing
feature & tol info
Part info
Manufacturing
feature & tol info

## Slide 24: Instances: Diameter nominal and tolerances
2
15.25
14.75
Plus_minus_value
1
implicit_tolerance
significant
_digits
upper
_limit
lower
_limit
Circular_
closed_profile
1
diameter
mm
15
parameter
_value
parameter
_unit
Numeric_parameter_
with_tolerance
1
diameter
0,-60,0
?,?,?,?,?,?,?,?,?
axis S[9:9]
location S[3:3]
Orientation
2
placement
Round_hole
1
smaller_hole
Counterbore_
hole
1
placement
axis S[9:9]
location S[3:3]
Orientation
1
?,?,?,?,?,?,?,?,?
?,?,?
calculated_value
Calculated
value
1
Numerical_value
1
15.12
mm
calculated_
value
Method A
calculation
_method
value_
component
unit_
component
Parameter
calculated
value
1
parameter

## Slide 25: Instances: Diameter nominal and tolerances
Plus_minus_value
1
24.5
25.5
2
implicit_tolerance
significant
_digits
upper
_limit
lower
_limit
2
Circular_
closed_profile
diameter
2
25
mm
parameter
_value
parameter
_unit
Numeric_parameter_
with_tolerance
2
diameter
placement
axis S[9:9]
location S[3:3]
Orientation
3
?,?,?,?,?,?,?,?,?
0,-60,0
Round_hole
2
larger_hole
Counterbore_
hole
1
placement
axis S[9:9]
location S[3:3]
Orientation
1
?,?,?,?,?,?,?,?,?
?,?,?
calculation
_method
Calculated
value
Numerical_value
2
24.8
mm
calculated_
value
Method A
value_
component
unit_
component
Parameter
calculated
value
2
2
parameter
calculated_value

## Slide 26: Example part: Nominals, tolerances, and calc values
Counterbore_hole
Hole 1
Hole 2
Nominal
Tolerance
Calc value
15mm
25mm
.25mm
.5mm
15.12mm
24.8mm
+
-
Shared
Information