## Slide 1: MEPT standards development process & Results from IMIS 2006
John Horst
Metrology Interoperability Project Leader,
The National Institute of Standards and Technology (NIST) Gaithersburg, MD
ISO/AIAG MEPT joint meeting
Oct 25, 2006 ◊ Hershey, PA

## Slide 2: Two major impediments to a successful interface standards that save time and money
Lack of OEM and tier supplier involvement
Failure to execute a successful standards development process

## Slide 3: MEPT standards development process
The interoperability solution requires concurrent development of
  Interfaces: Identify appropriate interfaces, identify existing interface standards, and identify gaps and overlaps
  Interface languages: Timely, unambiguous, sufficiently functional, with latest technologies, and consensus-based
  Implementations: Timely, compliant, fully functional, interoperable, and performed by a critical mass of vendors worldwide
  Tests: Product must pass conformance and interoperability tests for purchase

## Slide 4: Dimensional Metrology System:
Inspection execution
Inspection
process planning
Inspection
process
plans
DMIS
Reporting
& analysis
CMM control commands
and responses
I++ DME
Coordinate measuring machines (CMMs)
CAD + GD&T
Measurement
results
DML,
STEP AP219
Part geometry, features,
and
tolerances
STEP AP203e2, AP224, AP219, DML
Quality device integration
Quality measurement data
QMD
Component and interface diagram
Planning
Design
Execution
Analysis
Pilot IO testing planned for AP??
1-way Conformance test for DMIS
2-way conf tests and IO tests
Conf test for DML
Conf tests
and IO tests
I++ DMS goes where??????

## Slide 5: IMIS attendees (70 total)
End users (25 total)
  Aerospace (8), Government (5), Automotive (2), Non-auto vehicular (2), Electronics (1), Medical (1), Other (6)
Vendors (31 total)
  Fixed CMM Software (15), Fixed CMM Hardware (7), Portable CMM Software (3), Portable CMM Hardware (6)
Standards/Academia (14 total)
  Standards (9), Academia (3), Other (3)

## Slide 6: IMIS results summary
IP issues important
  Submarine patents and copyrights
  Change control authority
CAD + PMI to Measurement process planning of highest priority
OEM and tier supplier involvement is weak in NA
Multiple visions (MEPT, I++, ISO, DMSC) at various levels of cooperation and competition

## Slide 7
Issue: Solution | User | Vendor | Other | Com-bined
Issue: Showstopper — must be resolved: Lack of comprehensive non-shape product definitions — CAD Tolerance Data, material properties, optical properties, etc. • Evaluate GD&T in AP203 2nd Edition — consider material properties, surface finish • Put GD&T definition in a derivative environment other than CAD and verify schema • Push CAD vendors to supply associative GD&T • Educate users to prevent incomplete, inaccurate, wrong, ambiguous GD&T | 25 | 34 | 12 | 71
Issue: A formal I++ DME framework is needed: Resolve IP, legal issues; Ensure long-term survivability of the group’s activities; Preserve participants’ investments; Foster the promotion and education process; Support, coordinate and expand testing activities, e.g., NIST testbed, test suite. | 8 | 23.5 | 4 | 35.5
Issue: There is no shared vision between vendors and users for interoperability (including consensus on open-non-Proprietary only?) To develop a shared vision, gather parties - what are vendor (CAD, metrology, Product Lifecycle Management (PLM - e.g. PTC, UG, Autodesk, Dassault) business objectives, what are user (eg. AIAG, suppliers, etc.) business objectives, what are government and standards organizations objectives, find alignment between them. Solution must be win-win for all. | 6 | 22 | 6 | 34
Issue: Lack of uniform data model for the single part report.: Provide unified data models for single part inspection measurement results | 1 | 16.5 | 15 | 32.5
Issue: I++ DME needs to be extended to handle more equipment, sensors, environment: Extend I++ DME | 5 | 21 | 4 | 30
Notes: Total number of ballots cast: 412

## Slide 8
Issue: Solution | User | Vendor | Other | Combined
Issue: Lack of standard mechanism to capture and exchange knowledge including methods, practices, rules: Define extensible interface standard for measurement, knowledge, rules, best practices | 5 | 16 |  | 21
Issue: GD&T data is not associated with individual features of the part (the CAD model) which makes it impossible to automate inspection process programming. BTW If data is expressed as annotations in CAD files, or as notes on drawings it is not available to automated computer processes that can use it: CAD community puts associated GD&T in their data formats. This requires consensus. This is related to the meta-issue of lack of business case consensus. | 8 | 13 |  | 20.5
Issue: Lack of uniform data model for quality study summary reports with traceability: Develop unified data model | 4 | 11 | 5 | 20
Issue: CAD data (including GD&T) does not flow seamlessly to downstream processes when components are not from same vendor. Requires: buy new CAD, or buy new Inspection Planner, or translate the data. A standard data format, STEP. | 4 | 10 | 4 | 18
Issue: Overlap between I++ DME and DMIS Part 2: dueling standards: Resolve I++ DME v. DMIS Part 2 issue: Assess activities of I++ DME and DMIS Part 2; IMIS will work with DMSC to resolve overlap between I++ DME and DMIS Part 2, so that we have a single solution | 4 | 12 |  | 16
Notes: Total number of ballots cast: 412